pNPP and picogreen assay solutions

0.2M carbonate buffer

2:1 (vol:vol) of 0.2M Na2CO3 to 0.2M NaHCO3, pH 10.2

0.2M Na2CO3 = 4.2g in 200ml

0.2M NaHCO3 = 1.7g in 100ml

Add together and adjust pH to 10.2

pNPP lysis buffer

0.1% Triton-X in 0.2M carbonate buffer

Make 1% Triton (500μl in 50ml)

Dilute 1 in 10 (5ml in 50ml)

100mM MgCl2

2.0g in 100ml dH2O

pNPP stock substrate

10mg pNPP (P4744, Sigma) in 9ml 0.2M carbonate buffer + 1ml 100mM MgCl2

stored -20C is in cardboard box on right in communal (top) shelf in freezer next to Naz’s bench. Phosphatase substrate.

10mg = 0.1g

pNPP working substrate

1 volume of stock substrate + 2 volumes dH2O

TE buffer (100ml)

10mM Tris		0.12g

1mM EDTA		0.029g

pH 7.5

pNPP alkaline phosphatase assay

- Culture cells in a 96 well plate

- Wash with 0.2M carbonate buffer

- Lyse cells with 150μl 0.1% Triton-X in 0.2M carbonate buffer

- Freeze/thaw cells (-80°C/37°C) 3 times

- TAKE CARE: heating cell lysates at 37oC for too long results in inactivation of ALP. Check on plates every 5 minutes when defrosting at 37oC. Defrosting should be finished at room temperature to avoid issue.

- Pipette up and down to fully lyse cells

- Transfer 50μl to a new clear 96 well plate for pNPP assay

- Transfer 50μl to a black 96 well plate for picogreen assay

- Make up pNP (10mM cat N7660, Sigma, kept in fridge next to Naz’s bench) standards

| Concentration pNP (μmol/ml) | pNP (μl) | 0.2M carbonate buffer (μl) |
| --- | --- | --- |
| 0.5 | 20 | 380 |
| 0.3 | 12 | 388 |
| 0.2 | 8 | 392 |
| 0.1 | 4 | 396 |
| 0.05 | 2 | 398 |
| 0.025 | 1 | 399 |
| 0.0125 | 0.5 | 399.5 |
| 0 | 0 | 400 |

- Add 100μl standards to wells in triplicate

- Add 50μl working substrate to samples and incubate at 37°C for up to 1 hour until colour change seen

- Record length of time plate is incubated

- Read absorbance at 405nm on Mountford group plate reader on F1

Picogreen assay

- Prepare DNA standards as follows:

Stock salmon sperm DNA = 10mg/ml (in -20C freezer in pico green pot or Jen has an aliquot in box cat no 15632-011 10mg/ml Invitrogen)

Make a 1 in 100 dilution to 100μg/ml

= 2.5μl + 247.5μl 0.1% Triton-X in 0.2M carbonate buffer

| DNA conc (μg/ml) | Volume of DNA (μl) | Volume of 0.1% Triton (μl) | Total (μl) |
| --- | --- | --- | --- |
| 8 | 80 (μl of 100μg/ml stock) | 920 | 1000 (A) |
| 4 | 500 of A | 500 | 1000 (B) |
| 2 | 500 of B | 500 | 1000 (C) |
| 1 | 500 of C | 500 | 1000 (D) |
| 0.5 | 500 of D | 500 | 1000 (E) |
| 0.25 | 500 of E | 500 | 1000 |
| 0 | 0 | 500 | 500 |

- Add 50μl standards in triplicate to black 96 well plate (can freeze leftover standards to use again)

- Make up picogreen reagent 1:50 dilution in TE buffer (cover in foil)

- Add 50μl picogreen/TE to each standard and sample

- Shake and leave for a few minutes covered in foil

- Read at 485nm excitation and 538nm emission (use 520P filter on TF plate reader as they don’t have 538).

Picogreen dsDNA reagent cat no P7581 Invitrogen. -20c storage.